|  | Näherungssensor SMT-8M-A-ZS-24V-E-5,0-OE Artikel Nummer: 83.9900200 |
| --- | --- |

Eigenschaften

| Beschreibung | Näherungssensor SMT-8M-A-ZS-24V-E-5,0-OE |
| --- | --- |
| Artikel Nummer | 83.9900200 |
| Produktschlüssel | SMT-8M-A-ZS-24V-E-5,0-OE |
| Product name | Sensor |
| Sensor type | REED contact |
| Contact type | NO (Normally Open) |
| Mounting interface | Insertable in T-slot, fastened by slotted clamping screw |
| Electrical connection | Cable, DC-2 wire |
| Cable length | 5 m |
| Material housing | Stainless steel / Nylon (Polyamide, PA) / Polyurethane (PUR) |
| Min./max. ambient temperature | -40 to +85 °C |
| Dust/water protection class | IP65, IP68, IP69K |
| Supply voltage | 7 V DC. . .30 V DC |
| Supply current | 0,08 A |
| Output voltage | 24 V DC |
| Output current | 80 mA |
| Length | 35 mm |
| Width | 5 mm |
| Height | 4,7 mm |
| Weight | 0,06 kg |