|  | Steuerschrank - 400 V AC + N + PE; 50/60 Hz Artikel Nummer: E0122431 |
| --- | --- |

Eigenschaften

| Beschreibung | Steuerschrank - 400 V AC + N + PE; 50/60 Hz |
| --- | --- |
| Artikel Nummer | E0122431 |
| Produktschlüssel | RHPS-E-CB-NA-LC-HW-FD1 |
| Control box type | Wall mounted |
| Suitable for | High-gradient magnetic head pulley system / Overband magnet |
| Surface treatment/finishing | Powder-coated, textured paint (exterior) |
| Colour | Grey (Light grey): RAL7035 |
| Min./max. ambient temperature | -10 to 30 °C |
| Dust/water protection class | IP54 |
| EMC directive 2014/30/EU compliant | EMC_2014-30EU |
| EN 60204-1 compliant | Yes |
| EN ISO 13849-1 compliant | Yes |
| EN ISO 13850 compliant | Yes |
| IEC 61439-1 compliant | Yes |
| IEC 61439-2 compliant | Yes |
| Supply voltage | 3x400 V AC + N + PE; 50 Hz |
| Supply current | 16 A |
| Maximum fuse | 16 A |
| Output power | 4,7 kW |
| Output power to belt drive | 0,37 kW |
| Output voltage to belt drive | 400 V AC |
| Output current to belt drive | 1,1 A |
| Output power to vibr. feeder | 2 x 0,2 kW |
| Output power to overband magnet | 1,5 kW |
| Output voltage to overband magnet | 400 V AC |
| Output current to overband magnet | Max. 4,7 A |
| Incl. pot. free contacts for PLC | Yes |
| Including plug connection between control box and cable set | Yes |
| Main switch | Black/grey |
| Indicator light 'Running' (green) | Yes |
| Emergency stop | Yes |
| Push button 'Reset emergency stop' | Yes |
| Push button ON | Yes |
| Push button OFF | Yes |
| Switch for local/remote control | Yes |
| Potentiometer belt speed | Yes |
| Potentiometer feeder speed | Yes |
| Depth | 210 mm |
| Width | 500 mm |
| Height | 500 mm |
| Weight | 25 kg |