|  | Control box - 3x380 V AC; 50 Hz Article number: ESBB902001 |
| --- | --- |

Attributes

| Description | Control box - 3x380 V AC; 50 Hz |
| --- | --- |
| Article number | ESBB902001 |
| Product key | RBE-E-CB-NA-LC-HW-PT02K0 |
| Control box type | Floor mounted |
| Suitable for | Electro suspended magnet |
| Surface treatment/finishing | - |
| Colour | Grey (Light grey): RAL7035 |
| Min./max. ambient temperature | -10 to 30 °C |
| Dust/water protection class | IP54 |
| EMC directive 2014/30/EU compliant | EMC_2014-30EU |
| EN 60204-1 compliant | Yes |
| IEC 61439-1 compliant | Yes |
| IEC 61439-2 compliant | Yes |
| Supply voltage | 3x400 V AC + PE; 50 Hz |
| Supply current | 10 A |
| Maximum fuse | 10 A |
| Output power | 2 kW |
| Output power to magnet | 2 kW |
| Output voltage to magnet | 80 V DC |
| Output current to magnet | 25 A |
| Including transformer | Yes |
| Including rectifier | Yes |
| Including safety switch | Yes, for transformer |
| Depth | 250 mm |
| Width | 400 mm |
| Height | 600 mm |
| Weight | 50 kg |