|  | Control box - 3x400 V AC + PE; 50 Hz; 63 A Article number: ESBDE18002 |
| --- | --- |

Attributes

| Description | Control box - 3x400 V AC + PE; 50 Hz; 63 A |
| --- | --- |
| Article number | ESBDE18002 |
| Product key | HDTU-E-CB-NA-PLC-HW-PQ45A |
| Control box type | Wall mounted |
| Suitable for | Demagnetizing tunnel |
| Surface treatment/finishing | - |
| Colour | Grey (Light grey): RAL7035 |
| Min./max. ambient temperature | -10 to 30 °C |
| Dust/water protection class | IP54 |
| EMC directive 2014/30/EU compliant | EMC_2014-30EU |
| EN 60204-1 compliant | Yes |
| IEC 61439-1 compliant | Yes |
| IEC 61439-2 compliant | Yes |
| Supply voltage | 3x400 V AC + PE; 50 Hz |
| Supply current | 45 A |
| Maximum fuse | 63 A |
| Output power | 15 kW |
| Output current | Adjustable: up to 45 A |
| Output power to magnet | 0...15 kW |
| Output voltage to magnet | 0...500 V DC |
| Output current to magnet | adjustable up to 45 A |
| Incl. variable-frequency drive | Yes |
| Thermal protection | Yes |
| Depth | 300 mm |
| Width | 800 mm |
| Height | 800 mm |
| Weight | 38 kg |