|  | Digital polarity indicator Article number: GM1841001 |
| --- | --- |

Attributes

| Description | Digital polarity indicator |
| --- | --- |
| Article number | GM1841001 |
| Product key | MS-PI-ELECTRONIC |
| Display type | Led indicators |
| Sensitivity | ±15 mT on/off hysteresis |
| Max. operating temperature | 50 °C |
| Storage temperature | -20 to 70 °C |
| Battery | 1.5V button cell (4x) |
| Length | 143 mm |
| Width | 23 mm |
| Height | 24 mm |
| Weight | 0,03 kg |